# Appendix 4: Blank maintenance logs and fire risk assessment

Landlord fire precaution records - this will help to provide evidence of your management and ongoing maintenance of the property. It can be used in conjunction with your fire risk assessment and is a tool that will enable you to note and record changes in the property which may in turn affect the hazards and risks of fire in the property.

Fire doors - must close completely from a 45º angle when room windows closed, intumescent and smoke seals must be fitted correctly.

Common parts – must be kept clean, in good repair and free from obstructions. Any structural defects should also be noted and repaired – e.g. Hole in wall.

Fire alarm – routine testing of call points and detectors. An annual inspection by a competent electrician is required for BS 5839 Part 6 Grade A systems with a control panel. All false alarms shall also be recorded.

Emergency lights – a test key may be provided by the installer, alternatively you may turn the electricity off at the mains or the lighting circuit. Consult the system handbook.

Fire risk assessment – A blank template of a fire risk assessment that can be used to assess your premises can be found in this appendix, together with a completed example in appendix 5.

## Fire Precaution Records

| January | Date Checked |  | Defects found |  |  | Actions Taken and date |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fire Doors |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |
| February | Date Checked |  | Defects found |  |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |
| March | Date Checked |  | Defects found |  |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |
| April | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |
| May |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |
| June |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |
| July |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |
| August |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |
| September |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |
| October |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |
| November |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |
| December |  | Date Checked |  |  | Defects found |  | Actions Taken and date |  |
| Fire Doors |  |  |  |  |  |  |  |  |
| Common Parts |  |  |  |  |  |  |  |  |
| Fire Alarm week 1 |  |  |  |  |  |  |  |  |
| Fire Alarm week 2 |  |  |  |  |  |  |  |  |
| Fire Alarm week 3 |  |  |  |  |  |  |  |  |
| Fire Alarm week 4 |  |  |  |  |  |  |  |  |
| Fire Alarm week 5 |  |  |  |  |  |  |  |  |
| Emergency Lights |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |
| Signature of manager |  |  |  |  |  |  |  |  |

## Annual Checks

Certificates must be kept detailing findings and contact details for the contractor

|  | Date Checked & Company/Contractor details | Defects found | Actions Taken and date |
| --- | --- | --- | --- |
| Gas Safety |  |  |  |
| Fire Alarm 6-month check (Grade A system only) |  |  |  |
| Fire Alarm Annual check |  |  |  |
| Electrical appliances |  |  |  |
| Sprinkler System |  |  |  |

## Fire risk assessment Regulatory Reform (Fire Safety) Order 2005

## Property and management details

| Property type: | HMO / FMO |  |  |  | Assessor: (print) |  |  |  | Signature |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  | Responsible person: |  |  |  | Date: |  |  |
|  |  |  |  |  | Building size/ description: (floor area, number of exit routes staircases etc.) |  |  |  | Review date: |  |  |
| What is the main method of fire detection: | People |  |  |  |  |  |  |  | Number of floors: (does this include basement or roof) |  |  |
|  | Smoke Alarms |  |  |  |  |  |  |  |  |  |  |
|  | Automatic |  |  |  |  |  |  |  |  |  |  |
| Occupation: |  | Number: |  | Shared facilities: |  |  | Number: | Has the premises been recently modified because of: |  |  |  |
| The number of letting units: |  |  |  | Kitchen: |  |  |  | a) building control recommendations |  |  | yes no n/a |
| The number of households: |  |  |  | Living/Dining: |  |  |  | b) a schedule issued by environmental health so that the premises is suitable as an HMO/FMO |  |  | yes no n/a |
| The number of persons: |  |  |  | Plan attached: |  |  | yes / no |  |  |  |  |

### Identify fire hazards

| Sources of ignition | Sources of fuel | Sources of oxygen |
| --- | --- | --- |

### People at risk

| How many residents at the property? | How many visitors at the property? | How many contractors at the property? |
| --- | --- | --- |

### Known additional vulnerabilities to fire

| Mobility issues | Visual impairment | Hearing impairment | Language Issues |
| --- | --- | --- | --- |

### Means of escape and escape times

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Do escape routes lead in different directions to places of safety? (i.e. a place beyond the building in which a person is no longer in danger) | - if there is only one means of escape (e.g. one staircase) people should be able to reach a final exit door, protected staircase/refuge, or point with more than one route within one minute |  |  |  |
| When and how often are fire exit doors checked to ensure that they work properly and are free from obstruction? Who is responsible for this? | - fire exits immediately openable without use of a key - electronic locks release on alarm activation |  |  |  |
| What arrangements are made to ensure that fire doors close properly and have no damage? | - check weekly - ensure all fire doors are identifiable with signage and have self-closure fixed and in working order. - check automatic closing doors weekly and during alarm test |  |  |  |
| Are all gangways and escape routes free from obstruction? | - check regularly |  |  |  |
| Are the floor surfaces on escape routes free from tripping and slipping hazards? | - check regularly |  |  |  |

### Fire detection and warning (alerting building occupants)

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| What method of detecting a fire is in place? Is there automatic fire detection/alarm? Is there battery-operated smoke detection? Other, please state. |  |  |  |  |
| Is the automatic fire detection system in working order? Who is responsible for this? |  |  |  |  |
| Do residents and visitors know what to do if a fire occurs or the alarm is raised? | - provide fire action plan notices and display them prominently - review procedures with new/all residents at regular intervals |  |  |  |
| Do you ensure that the fire alarm is tested each week? Where is it recorded? Is each call point checked over time? | - weekly call point test cycle so each is tested over time. |  |  |  |

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Are there arrangements for having heat and smoke detectors checked? Who is responsible for checking them and how often are they checked? | - maintain and service regularly. - ensure installed in ‘high risk’ areas and unoccupied areas e.g. basements etc. |  |  |  |
| What arrangements are there for having the complete alarm system serviced by a competent contractor? Who is responsible for this? |  |  |  |  |

### Sources of ignition (check, inspect and control)

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Do the premises have open fires? | - where are they located? - how are they managed? What safety arrangements are there (e.g. guards) |  |  |  |
| Do the premises have fixed heaters and where are they? How are they managed and what safety arrangements are in place? | - keep combustibles away from fixed heaters - do not leave on when area unoccupied |  |  |  |
| Do the premises have any portable heaters? Where are they used and how are they managed? What safety arrangements are in place? | - turn off when not in use - ensure vents are clear - remove combustibles in area - portable appliance testing carried out annually |  |  |  |
| Smoking policy | - smoking policy in force - specified area outside the building |  |  |  |
| Are there fire risks with cooking and kitchen use? How are these controlled? | - gas and electrical equipment maintained - fire blankets provided - portable firefighting extinguishers only if risk assessment advises – these must be maintained |  |  |  |

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| What fire risks are there with regards to boilers? How are they managed? | - annual service |  |  |  |
| What fire risks are there with regards to the safe storage of cleaning materials? How are they managed? | - keep hazardous chemicals to a minimum - all flammables stored in appropriate store |  |  |  |
| Where can a fire start without being noticed straight away? | - are items of ignition stored in this area? |  |  |  |

### Combustible materials (remove, reduce and control)

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Is waste storage, or other outside storage controlled for fire hazards? | - waste stored away from building in enclosed area and bins secured |  |  |  |
| Have flammable and combustible materials been identified and minimised where possible? | - vigilance during routine visits |  |  |  |
| Is the furniture upholstery made of fire-resistant material? | - check for fire safety labels on furniture |  |  |  |
| Are provisions made for ensuring the communal areas and escape corridors are always kept clear of combustible materials? | - vigilance during routine visits |  |  |  |

### Structural features (Control fire spread)

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Is the property of sound construction, with suitable fire resistance to the hall and landings? |  |  |  |  |  |
| Are all doors used for means of escape purposes available for use and can doors be easily and immediately opened with a single form of fastening? |  |  |  |  |
| Are there holes in the ceiling anywhere on the premises? In partition walls around pipe work and cables? These must be filled to help prevent the spread of fire. | - has work taken place which may have made holes in walls or damaged any fire-resistant wall/ceiling linings - e.g. new doors, glazed screens |  |  |  |

### Electrical (maintenance)

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Are there arrangements for the regular testing of portable electrical equipment (i.e. equipment with plugs) | - annual portable appliance testing by competent person |  |  |  |
| Are there arrangements for fixed wire testing? (At least every 5 years) | - rolling programme of works - records |  |  |  |

### Signage / lighting

| Fire safety (the issues) | Recommended control measures | yes / no / n/a |  | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- | --- |
| Is there adequate signage in place? | - are all fire signs conspicuous (not covered or painted over etc.) |  |  |  |  |
| Are there arrangements for checking the emergency lighting? (if provided) | - check operation of emergency lighting units at least monthly - ensure record of check made in fire logbook - a competent engineer should test emergency lighting system once a year - ensure record of test made in fire logbook |  |  |  |  |
| Are all fire escape routes adequately lit? | - all escape routes should be sufficiently lit for people to see their way-out safety - emergency escape lights may be needed if areas are without natural daylight or are used at night - check the relevant areas at night with the lights off to see if there is sufficient light from other sources (e.g. streetlights or unaffected lighting circuits) - if lighting is insufficient emergency lighting should be provided |  |  |  |  |
|  | - emergency lighting should function not only in a complete failure of normal lighting, but also on a localised failure that would present a hazard - emergency lighting should cover escape routes and be sited to cover specific areas: - intersections of corridors - each exit door - flights of stairs - near fire alarm call points - fire exit signs - changes in floor level - near firefighting equipment - outside each final exit - lift cars |  |  |  |  |

### Firefighting equipment (sufficient & appropriate, check and inspect)

| Fire safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Is there sufficient firefighting equipment of the correct type where required by fire risk assessment? Is there at least one extinguisher placed for each 200 metres of floor space? (Minimum of 2 per floor unless it is an upper floor less then 100m2) | - ensure extinguishers are appropriate at local risk - where provided ensure extinguishers are fixed near exit doors and at appropriate heights - handle of large extinguisher – approx. 1 metre from floor. handle of small handheld extinguisher – approx. 1.5 metres from floor - ensure that fire extinguishers are conspicuous, not blocked or obscured - directional arrows and firefighting equipment signs must be displayed where equipment is hidden from direct view e.g. hose reel in cupboard, extinguisher in an alcove - ensure there are notices and/or instructions indicating the correct use of extinguishers |  |  |  |
| How often and by whom is the fire equipment checked? | - are weekly inspections of extinguishers carried out - record inspections (safety clip, indication of use of devices, external corrosion and dents. - check extinguishers are inspected annually by a competent engineer. check for record in fire logbook |  |  |  |
| Are there fire blankets provided in the kitchen(s)? | - light duty blankets – small fires in containers for cooking oils or fats, and fires involving clothing |  |  |  |

### Planning for an emergency (coordinating evacuation)

| Fire Safety (the issues) | Recommended control measures | yes / no / n/a | Recommended action and comments (by whom) | When (include review date) |
| --- | --- | --- | --- | --- |
| Is there an emergency plan in place? | - ensure there is a plan for raising the alarm, calling the fire and rescue service and assembly point locations - ensure fire action notices are in place and up to date - in general fire action notices should be posted next to all fire alarm call points - is the plan understood by residents whose first language is not English |  |  |  |
| Are all your residents reasonably mobile? | - are there suitable procedures in place for the evacuation of disabled persons? |  |  |  |
| Additional comments & observations: (include any additional issues identified and actions that require implementation) |  |  |  |  |
| Signature: Date: (Print) ________________________________ Next Review Date: |  |  |  |  |

### Floor plan

### Action plan following review		Date:					Reviewed by:

| New hazards and/or risks identified | Recommended control measures | Date | Action and by whom | Date completed & signature |
| --- | --- | --- | --- | --- |